## Service Seasons
e.g. Financial year: | 2024/25
Season | North License Area (SHEPD) | South License Area (SEPD)
Spring | 1st April - 31st May 1st April - 30th April 2024, 1st May - 31st May 2024 | 1st March - 30th April 1st April - 30th of April 2024, 1st of March - 31st of March 2025
Summer | 1st June - 31st August 1st June - 30th June 2024, 1st July - 31st July 2024, 1st August - 31st August 2024 | 1st May - 31st August 1st May - 31st May 2024, 1st June - 30th June 2024, 1st July - 31st July 2024, 1st August - 31st August 2024
Autumn | 1st September - 31st of October 1st September - 30th September 2024, 1st October - 31st October 2024 | 1st September - 30th November 1st September - 30th September 2024, 1st October - 31st October 2024, 1st November - 30th November 2024
Winter | 1st November - 31st March 1st November - 30th November 2024, 1st December - 31st December 2024, 1st January - 31st January 2025, 1st February - 28th February 2025, 1st of March - 31st of March 2025 | 1st December - 28th February (29th February for leap years) 1st December - 31st December 2024, 1st January - 31st January 2025, 1st February - 28th February 2025
Note:
Please note that the closest Monday may be used as the start of the season.

## Definitions
This document outlines the requirements for the August 2024 Long Term bidding round. This will be replicated on the Electron Connect platform which will be used for procurement.
To participate in bidding, you must have a signed Overarching Agreement for the relevant Licence Area.
The Flexibility Market Platform (FMP) tender parameters are defined below:
Information | Description
Licence Area | The SSEN Distribution Licence area where the CMZs are located. SHEPD is the Licence area that covers the North of Scotland and SEPD covers central southern England.
Name* | The name that will appear in Electron Connect for the bidding area. The CMZ name with the flexibility service, the season and year that the service will be delivered.
Constraint Managed Zones | The feeding area of the Distributed Energy Resources (DERs) being managed or where the Flexibility Services will be provided and to which the Flexibility Services will be delivered.
Product Type | The name of the flexibility service to be delivered to the CMZ as identified under "name".
Power Type | The type of Power being delivered. Active power is real power and is measured in MW. Reactive power is measured in MVAr.
Direction | Generation Turn Up, Demand Turn Down: means an increase of net export of active power to or reduction of net import of active power from the Company's Network (also known as “GTU/DTD”).
Payment Type | The payment types that the Company will make for the product type (VAOU_WA). It's made up of availability and utilisation prices. The availability price for the Variable Availability + Operational Utilisation - Week Ahead (VAOU_WA) services is in £/MW/h. The utilisation price for Variable Availability + Operational Utilisation - Week Ahead (Secure) services is in £/MWh.
Availability Refined | At month ahead, availability refinement instruction is issued. The Provider has the option of accepting or declining this instruction. This is the point that the Provider is contractually obligated to deliver the volume agreed if Utilisation Instruction is issued.
Utilisation Agreed | Utilisation instruction is issued at week ahead and if agreed, a contractual payment is made.
Estimated volume (MW) | The maximum estimated capacity of the services required.
Expected Budget (£)** | The forecast expected spend in this area (for the year of the call off) based on pricing and utilisation analysis.
Contract Start Date | The start date of the Call Off contract for the flexibility service being provided. Please note this will be longer than the service delivery window. The service delivery windows for the seasons can be found on the seasons tab.
Contract End Date | The end date of the Call Off contract for the flexibility service being provided.
Period** | The season that the service is required.
Days of the week | The days of the week that the flexibility service may be required.
Service Window Start | The time period during the Service Period during which the Provider agrees to start to make the service Available and provide the Flexibility Services to the Company in accordance with the Agreement.
Service Window End | The time period during the Service Period during which the Provider agrees to end the Availability of the flexibility service to the Company in accordance with the Agreement .
Total Estimated Utilisation hours** | An estimation of the number of hours that the service is expected to be utilised for.
Total Estimated Availability hours** | An estimation of the number of hours that the service is expected to be available for.
* | VAOU also abbreviated as "VAOU_WA" means "Variable Availability + Operation Utilisation with Utilisation at Week Ahead
** | These parameters are provided for information only.

## Flexibility Requirements
Licence Area | Name | Constraint Management Zones | Product Type | Voltage Levels (kV) | Power Type (Active; Reactive) | Direction | Payment Type | Availability Refined | Utilisation Agreed | Estimated Volume (MW) | Expected Budget (£) | Contract Start Date (DD/MM/YYYY) | Contract End Date (DD/MM/YYYY) | Period | Days of the Week | Service Window Start (HH:MM) | Service Window End (HH:MM) | Minimum Asset Size (MW) | Total Estimated Utilisation Hours | Total Estimated Availablity Hours
SEPD | Bath Road East VAOU (WA) Winter 25/ 26 | Bath Road East | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 1 | 343000 | 2025-10-01 | 2026-03-22 | Winter | Mon, Tue, Wed, Thu, Fri | 17:30 | 19:30 | 0.01 | 2.5 | 124
SEPD | Bath Road East VAOU (WA) Winter 26 /27 | Bath Road East | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 1 | 343000 | 2026-10-01 | 2027-02-28 | Winter | Mon, Tue, Wed, Thu, Fri | 17:30 | 19:30 | 0.01 | 2.5 | 124
SEPD | Beaconsfield VAOU (WA) Autumn 26/27 | Beaconsfield | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 3.49 | 29000 | 2026-07-01 | 2026-11-29 | Autumn | Mon, Tue, Wed, Thu, Fri | 18:00 | 19:00 | 0.01 | 1.5 | 63
SEPD | Beaconsfield VAOU (WA) April 25 | Beaconsfield | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 3.0305 | 14000 | 2025-01-01 | 2025-05-04 | Spring | Mon, Tue, Wed, Thu, Fri | 18:00 | 19:00 | 0.01 | 0.5 | 21
SEPD | Beaconsfield VAOU (WA) March 26 | Beaconsfield | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 3.49 | 14000 | 2026-01-01 | 2026-03-29 | Spring | Mon, Tue, Wed, Thu, Fri | 18:00 | 19:00 | 0.01 | 0.5 | 21
SEPD | Beaconsfield VAOU (WA) April 26 | Beaconsfield | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 3.49 | 14000 | 2026-01-01 | 2026-05-03 | Spring | Mon, Tue, Wed, Thu, Fri | 18:00 | 19:00 | 0.01 | 0.5 | 21
SEPD | Beaconsfield VAOU (WA) March 27 | Beaconsfield | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 3.49 | 14000 | 2027-01-01 | 2027-04-04 | Spring | Mon, Tue, Wed, Thu, Fri | 18:00 | 19:00 | 0.01 | 0.5 | 21
SEPD | Beaconsfield VAOU (WA) Winter 25/26 | Beaconsfield | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 3.03 | 148000 | 2025-10-01 | 2026-03-01 | Winter | Mon, Tue, Wed, Thu, Fri | 16:30 | 19:30 | 0.01 | 3.5 | 186.5
SEPD | Beaconsfield VAOU (WA) Winter 26/27 | Beaconsfield | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 3.49 | 151000 | 2026-10-01 | 2027-02-28 | Winter | Mon, Tue, Wed, Thu, Fri | 15:30 | 20:00 | 0.01 | 5.5 | 279.5
SEPD | Boston Manor VAOU (WA) Winter 25/26 | Boston Manor Road | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 6 | 344000 | 2025-10-01 | 2026-03-22 | Winter | Mon, Tue, Wed, Thu, Fri | 10:00 | 12:00 | 0.01 | 2.5 | 124
SEPD | Boston Manor VAOU (WA) Winter 26/27 | Boston Manor Road | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 6 | 344000 | 2026-10-01 | 2027-02-28 | Winter | Mon, Tue, Wed, Thu, Fri | 10:00 | 12:00 | 0.01 | 2.5 | 124
SHEPD | Burghmuir VAOU (WA) Winter 25/26 | Burghmuir | Variable Availability + Operational Utilisation (Week Ahead) | 33kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 0.9595 | 27000 | 2025-09-01 | 2026-03-29 | Winter | Mon, Tue, Wed, Thu, Fri | 15:00 | 16:00 | 0.01 | 2 | 104
SEPD | Canal Bank VAOU (WA) Winter 25/26 | Canal Bank | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 10 | 573000 | 2025-10-01 | 2026-03-22 | Winter | Mon, Tue, Wed, Thu, Fri | 14:00 | 16:00 | 0.01 | 2.5 | 124
SEPD | Canal Bank VAOU (WA) Winter 26/27 | Canal Bank | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 10 | 573000 | 2026-10-01 | 2027-02-28 | Winter | Mon, Tue, Wed, Thu, Fri | 14:00 | 16:00 | 0.01 | 2.5 | 124
SEPD | Causeway VAOU (WA) Summer 25/26 | Causeway | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 1 | 42000 | 2025-03-01 | 2025-08-30 | Summer | Mon, Tue, Wed, Thu, Fri | 16:30 | 18:30 | 0.01 | 3.5 | 169.5
SEPD | Causeway VAOU (WA) Summer 26/27 | Causeway | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 1 | 42000 | 2026-03-01 | 2026-08-30 | Summer | Mon, Tue, Wed, Thu, Fri | 16:30 | 18:30 | 0.01 | 3.5 | 169.5
SEPD | Charlbury - Woodstock VAOU (WA) Winter 25/26 | Charlbury-Woodstock | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 0.66 | 7000 | 2025-10-01 | 2026-03-22 | Winter | Mon, Tue, Wed, Thu, Fri | 16:30 | 19:30 | 0.01 | 3.5 | 186.5
SEPD | Charlbury - Woodstock VAOU (WA) Winter 26/27 | Charlbury-Woodstock | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 1.18 | 22000 | 2026-10-01 | 2027-02-28 | Winter | Mon, Tue, Wed, Thu, Fri | 16:00 | 20:00 | 0.01 | 5 | 248.5
SEPD | Charlbury - Woodstock VAOU (WA) Winter 27/28 | Charlbury-Woodstock | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 1.75 | 53000 | 2027-10-01 | 2028-02-27 | Winter | Mon, Tue, Wed, Thu, Fri | 16:00 | 20:30 | 0.01 | 5.5 | 279.5
SEPD | Cowley Local VAOU (WA) Spring 25 | Cowley-Local | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 3.02 | 45000 | 2025-01-01 | 2025-05-04 | Spring | Mon, Tue, Wed, Thu, Fri | 17:30 | 18:30 | 0.01 | 1 | 42
SEPD | Cowley Local VAOU (WA) Spring 26 | Cowley-Local | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 3.02 | 45000 | 2026-01-01 | 2026-03-29 | Spring | Mon, Tue, Wed, Thu, Fri | 17:30 | 18:30 | 0.01 | 1 | 42
SEPD | Cowley Local VAOU (WA) Autumn 25/26 | Cowley-Local | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 3.02 | 89000 | 2025-07-01 | 2025-11-30 | Autumn | Mon, Tue, Wed, Thu, Fri | 17:30 | 18:30 | 0.01 | 1.5 | 63
SEPD | Cowley Local VAOU (WA) Winter 25/26 | Cowley-Local | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 3.02 | 106000 | 2025-10-01 | 2026-03-22 | Winter | Mon, Tue, Wed, Thu, Fri | 17:00 | 19:30 | 0.01 | 3 | 155
SHEPD | Culloden VAOU (WA) Winter 25/26 | Culloden | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 0.81 | 14000 | 2025-09-01 | 2026-03-29 | Winter | Mon, Tue, Wed, Thu, Fri | 17:30 | 18:00 | 0.01 | 1 | 52
SHEPD | Culloden VAOU (WA) Winter 26/27 | Culloden | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 1.04 | 19000 | 2026-09-01 | 2027-03-28 | Winter | Mon, Tue, Wed, Thu, Fri | 17:30 | 18:00 | 0.01 | 1 | 52
SEPD | Ealing VAOU (WA) Winter 25/26 | Ealing (E) | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 21 | 880000 | 2025-10-01 | 2026-03-22 | Winter | Mon, Tue, Wed, Thu, Fri | 17:00 | 19:00 | 0.01 | 2.5 | 124
SEPD | Ealing VAOU (WA) Winter 26/27 | Ealing (E) | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 21 | 880000 | 2026-10-01 | 2027-02-28 | Winter | Mon, Tue, Wed, Thu, Fri | 17:00 | 19:00 | 0.01 | 2.5 | 124
SEPD | Hayes VAOU (WA) Winter 25/26 | Hayes | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 11 | 461000 | 2025-10-01 | 2026-03-22 | Winter | Mon, Tue, Wed, Thu, Fri | 16:30 | 18:30 | 0.01 | 2.5 | 124
SEPD | Hayes VAOU (WA) Winter 26/27 | Hayes | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 11 | 461000 | 2026-10-01 | 2027-02-28 | Winter | Mon, Tue, Wed, Thu, Fri | 16:30 | 18:30 | 0.01 | 2.5 | 124
SEPD | Lytchett VAOU (WA) Autumn 25/26 | Lytchett | Variable Availability + Operational Utilisation (Week Ahead) | 33kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 5.35 | 80000 | 2025-07-01 | 2025-11-30 | Autumn | Mon, Tue, Wed, Thu, Fri | 18:00 | 18:30 | 0.01 | 0.5 | 31.5
SEPD | Lytchett VAOU (WA) Autumn 26/27 | Lytchett | Variable Availability + Operational Utilisation (Week Ahead) | 33kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 5.78 | 161000 | 2026-07-01 | 2026-11-29 | Autumn | Mon, Tue, Wed, Thu, Fri | 18:00 | 18:30 | 0.01 | 0.5 | 31.5
SEPD | Lytchett VAOU (WA) Winter 25/26 (PM) | Lytchett | Variable Availability + Operational Utilisation (Week Ahead) | 33kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 5.35 | 47000 | 2025-10-01 | 2026-03-01 | Winter | Mon, Tue, Wed, Thu, Fri | 18:00 | 19:00 | 0.01 | 1 | 62
SEPD | Lytchett VAOU (WA) Winter 25/26 (AM) | Lytchett | Variable Availability + Operational Utilisation (Week Ahead) | 33kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 5.35 | 47000 | 2025-10-01 | 2026-03-01 | Winter | Mon, Tue, Wed, Thu, Fri | 9:30 | 10:00 | 0.01 | 0.5 | 31
SEPD | Lytchett VAOU (WA) Winter 26/27 (PM) | Lytchett | Variable Availability + Operational Utilisation (Week Ahead) | 33kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 5.78 | 95000 | 2026-10-01 | 2027-02-28 | Winter | Mon, Tue, Wed, Thu, Fri | 18:00 | 19:00 | 0.01 | 1 | 62
SEPD | Lytchett VAOU (WA) Winter 26/27 (AM) | Lytchett | Variable Availability + Operational Utilisation (Week Ahead) | 33kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 5.78 | 95000 | 2026-10-01 | 2027-02-28 | Winter | Mon, Tue, Wed, Thu, Fri | 9:30 | 10:00 | 0.01 | 0.5 | 31
SEPD | Lytchett VAOU (WA) April 25 | Lytchett | Variable Availability + Operational Utilisation (Week Ahead) | 33kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 4.71 | 40000 | 2025-01-01 | 2025-05-04 | Spring | Mon, Tue, Wed, Thu, Fri | 18:30 | 19:00 | 0.01 | 0.5 | 10.5
SEPD | Lytchett VAOU (WA) March 26 | Lytchett | Variable Availability + Operational Utilisation (Week Ahead) | 33kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 4.71 | 40000 | 2026-01-01 | 2026-03-29 | Spring | Mon, Tue, Wed, Thu, Fri | 18:30 | 19:00 | 0.01 | 0.5 | 10.5
SEPD | Lytchett VAOU (WA) April 26 | Lytchett | Variable Availability + Operational Utilisation (Week Ahead) | 33kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 5.78 | 81000 | 2026-01-01 | 2026-05-03 | Spring | Mon, Tue, Wed, Thu, Fri | 18:00 | 18:30 | 0.01 | 0.5 | 10.5
SEPD | Lytchett VAOU (WA) March 27 | Lytchett | Variable Availability + Operational Utilisation (Week Ahead) | 33kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 5.78 | 81000 | 2027-01-01 | 2027-04-04 | Spring | Mon, Tue, Wed, Thu, Fri | 18:00 | 18:30 | 0.01 | 0.5 | 10.5
SHEPD | Milnathort VAOU (WA) Winter 25/26 | Milnathort | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 0.94 | 18000 | 2025-09-01 | 2026-03-29 | Winter | Mon, Tue, Wed, Thu, Fri | 17:30 | 18:30 | 0.01 | 2 | 104
SHEPD | Montrose North VAOU (WA) Winter 25/26 | Montrose North | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 0.91 | 54000 | 2025-09-01 | 2026-03-29 | Winter | Mon, Tue, Wed, Thu, Fri | 17:30 | 18:30 | 0.01 | 2 | 104
SHEPD | Muir of Ord VAOU (WA) Winter 25/26 | Muir of Ord | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 0.38 | 16000 | 2025-09-01 | 2026-03-29 | Winter | Mon, Tue, Wed, Thu, Fri | 17:30 | 19:00 | 0.01 | 4 | 208.5
SEPD | North Hyde 11kV VAOU (WA) Winter 25/ 26 | North Hyde 11kV | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 3 | 125000 | 2025-10-01 | 2026-03-22 | Winter | Mon, Tue, Wed, Thu, Fri | 16:30 | 18:30 | 0.01 | 2.5 | 124
SEPD | North Hyde 11kV VAOU (WA) Winter 26/27 | North Hyde 11kV | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 3 | 125000 | 2026-10-01 | 2027-02-28 | Winter | Mon, Tue, Wed, Thu, Fri | 16:30 | 18:30 | 0.01 | 2.5 | 124
SEPD | Northolt VAOU (WA) Winter 25 /26 | Northolt | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 3 | 125000 | 2025-10-01 | 2026-03-22 | Winter | Mon, Tue, Wed, Thu, Fri | 17:00 | 19:00 | 0.01 | 2.5 | 124
SEPD | Northolt VAOU (WA) Winter 26/ 27 | Northolt | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 3 | 125000 | 2026-10-01 | 2027-02-28 | Winter | Mon, Tue, Wed, Thu, Fri | 17:00 | 19:00 | 0.01 | 2.5 | 124
SEPD | Southfield Road VAOU (WA) Winter 25/ 26 | Southfield Road | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 10.17 | 418000 | 2025-10-01 | 2026-03-22 | Winter | Mon, Tue, Wed, Thu, Fri | 17:30 | 19:30 | 0.01 | 2.5 | 124
SEPD | Southfield Road VAOU (WA) Winter 26/27 | Southfield Road | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 10.17 | 418000 | 2026-10-01 | 2027-02-28 | Winter | Mon, Tue, Wed, Thu, Fri | 17:30 | 19:30 | 0.01 | 2.5 | 124
SHEPD | Stoneywood VAOU (WA) Winter 25/26 | Stoneywood | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 0.0855 | 14000 | 2025-09-01 | 2026-03-29 | Winter | Mon, Tue, Wed, Thu, Fri | 17:30 | 19:00 | 0.01 | 3 | 156.5
SHEPD | Stoneywood VAOU (WA) Winter 26/27 | Stoneywood | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 1.026 | 60000 | 2026-09-01 | 2027-03-28 | Winter | Mon, Tue, Wed, Thu, Fri | 17:30 | 19:00 | 0.01 | 3 | 156.5
SEPD | The Green VAOU (WA) Winter 25/ 26 | The Green | Variable Availability + Operational Utilisation (Week Ahead) | 6.6kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 3 | 125500 | 2025-10-01 | 2026-03-22 | Winter | Mon, Tue, Wed, Thu, Fri | 16:30 | 18:30 | 0.01 | 2.5 | 124
SEPD | The Green VAOU (WA) Winter 26/ 27 | The Green | Variable Availability + Operational Utilisation (Week Ahead) | 6.6kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 3 | 125500 | 2026-10-01 | 2027-02-28 | Winter | Mon, Tue, Wed, Thu, Fri | 16:30 | 18:30 | 0.01 | 2.5 | 124
SEPD | Vicarage Farm Road VAOU (WA) Winter 25/26 | Vicarage Farm Road | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 12 | 502000 | 2025-10-01 | 2026-03-22 | Winter | Mon, Tue, Wed, Thu, Fri | 17:30 | 19:30 | 0.01 | 2.5 | 124
SEPD | Vicarage Farm Road VAOU (WA) Winter 26/27 | Vicarage Farm Road | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 12 | 502000 | 2026-10-01 | 2027-02-28 | Winter | Mon, Tue, Wed, Thu, Fri | 17:30 | 19:30 | 0.01 | 2.5 | 124
SEPD | Yiewsley VAOU (WA) Winter 25/ 26 | Yiewsley | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 1 | 41000 | 2025-10-01 | 2026-03-22 | Winter | Mon, Tue, Wed, Thu, Fri | 17:00 | 19:00 | 0.01 | 2.5 | 124
SEPD | Yiewsley VAOU (WA) Winter 26/ 27 | Yiewsley | Variable Availability + Operational Utilisation (Week Ahead) | 11kV | Active | Generation Turn Up, Demand Turn Down | Availability and Utilisation | Month-ahead | week-ahead | 1 | 41000 | 2026-10-01 | 2027-02-28 | Winter | Mon, Tue, Wed, Thu, Fri | 17:00 | 19:00 | 0.01 | 2.5 | 124